## Slide 1
Proof of concept for a scintillator powder calorimeter
G. Hull1, J. Lefrançois1, N. Semkiv2, A. Kotenko2, S. Barsuk1, M.-H. Schune1, D. Breton1, A. Cabrera1
1 Université Paris-Saclay, CNRS/IN2p3, IJCLab, 91405 Orsay, France
2 Kyiv National Taras Shevchenko University, 01033 Kyiv, Ukraine
Franch-Ukrainian workshop
Instrumentation development for high-energy physics October 27th – 29rd, 2021

## Slide 2
The LiquidO detection technique
Powder calorimeter
The proof of concept
  Simulation results
  Experimental results
Future work
Outline
1

## Slide 3
2
The LiquidO technology
LiquidO is a new detection technique making use of opaque liquid scintillator read-out by means of WLS fibers
Stochastic light confinement
LiquidO concept:
TPC-like detector with « light drifting »
Opaque detection medium

## Slide 4
3
The LiquidO technology
Possible application for:
Neutrino physics
Medical imaging
High energy physics
…
Excellent PID is expected
2 MeV
A. Cabrera et al. LiquidO First Publication [arXiv1908.02859]
C. Buck et al. LiquidO First Opaque Scintillator [arXiv:1908.03334]
S. Wagner et al. Micro-Crystal Opaque Scintillators [arXiv:1807.00628]
LiquidO is a new detection technique making use of opaque liquid scintillator read-out by means of WLS fibers

## Slide 5
4
Detectors for e+e- colliders
Good granularity at limited cost 😏
Rather poor photon energy resolution 😒
  ➥ at small energies: R ~ 10%/sqrt(E)
Proof of concept for a next-generation calorimeter with extremely fine sampling: PowderO
For future e+e- colliders: EM calorimeters based on sampling technique (CALICE, Dual Read-out Calorimeter)
 For improved photon energy resolution while maintaining a good jet energy resolution

## Slide 6
5
The PowderO concept
Scintillator powder calorimeter
WLS fibers
Scintillator
Absorber
Shashlyk Calorimeter: alternate layers of scintillators and absorbers
PowderO: mix of scintillator and absorber grains in the same volume
High granularity
Modest energy resolution
High granularity
Good energy resolution
Proof of concept: simulation and experiment

## Slide 7
6
Simulation for 1 GeV photons
Geant4 MC simulation: shower produced by a 1 GeV photon in a conventional Shashlyk and in a PowderO calorimeter
Shashlyk: alternate plates of Pb and CH
Same geometry as LHCb: 150×150×2 mm3 plates
PowderO: ZnWO4 grains + CH2I2 distributed with two different geometries
    Alternating cubes
    Randomly distributed cubes
Total length: 25 X0 in the absorber material (127 in Pb and 201 in CH2I2)
2 and 3 mm-side cubes
150×150 mm2 lateral dimension

## Slide 8
7
Simulation results
Total energy deposit in the absorber: Eabs
Total energy deposit in the scintillator: Escint
Energy deposit in the scintillator
Shashlik calorimeter:
Escint
Escint

## Slide 9
8
Simulation results
Alternating cubes, 2mm:
Random cubes, 2mm:
Random cubes, 3mm:
𝚫E/E scales as the sqrt of the cubes linear dimension:
expected 1.5% energy resolution for 0.5 mm cubes
Escint
Escint
Escint

## Slide 10
9
WaveCatcher digitizer @ 3.2GS/s
60-cm long Saint Gobain BCF9929A WLS fiber
Blue LED
Clear fiber unpolished on 2 cm
The experimental set-up

## Slide 11
10
The experimental set-up
Injection of the light with a clear fiber and comparison of the signals acquired by the WFS fibers located and increasing distance from the light injection, in three different conditions:
  In air
  In salt (grain size ~ 0.5 mm)
  In salt + isopropanol
For the proof of principle we used kitchen salt
Salt
Glass grains
Glass spheres
For each configuration we acquired 10k signals and we estimated the mean WF

## Slide 12
11
Results
1. With salt we collect more light than in air

## Slide 13
12
Results
2. If we add isopropanol to salt, the signal amplitude decreases next to the light injection but increases at 6 and 8 mm from it

## Slide 14
13
Results
3. The time difference between the signals acquired in air and salt is is always bigger than the time difference in air and salt+isopropanol
 with isopropanol there is less light scattering
 the light has to travel less to be collected on the WLS fiber
ts ~ 1.4 ns  ls ~ 28 cm
tm ~ 0.6 ns  lm ~ 12 cm
Linear fit on the rising edge
and estimate of t @ peak/2
At 6 mm:
6 mm
6 mm salt
6 mm mixture
ts
tm

## Slide 15
14
Conclusion and future work
We demonstrated the feasibility of PowderO
Geant4 shower simulation predicts an energy resolution of about 1.5%/sqrt(E) for 0.5 mm size ZnWO4 grains + CH2I2
Powder (kitchen salt) = Light confinement
Mix = Powder + liquid (isopropanol) = higher total density and better optical coupling
From salt to inorganic crystal grains: possible collaboration with ISMA (Ukraina) to produce 1 kg of ZnWO4
Test of a 16-fibers device to study of the uniformity response of the detector
Characterization of a full length and fully equipped 16-fibers prototype
Development of a 14 cm x 14 cm demonstrator

## Slide 16
Thank you!