## Slide 1: Irradiations with neutrons at ALTO

## Slide 2: The LICORNE neutron convertor at ALTO
n
n
n
n
Target H2
1000 nA 7Li
13-17 MeV
Lithium Inverse Cinematiques ORsay NEutron source
Reaction p(7Li,7Be)n using inverse kinematics
Source of fast focused neutrons (between 0.5 and 4 MeV )
γ
γ
Sample
Natural directionality and high fluxes: 108 n/cm2/s on target
Kinematic focusing
Low room background

## Slide 3: LICORNE (H2 gas version) chamber design 2014

## Slide 4: LICORNE (H2 gas version)
Hydrogen gas cells
H2 pressure and flow control system
+ automatic shutdown

## Slide 5: LICORNE development timeline
2014
2015
2016
2017
2018
2013
First fixed polypropylene
target test experiment
Commissioning of LICORNE I
Rotating polypropylene target
Commissioning
LICORNE II
H2 gas target
ν-ball
installation
First ν-ball/LICORNE
experiment
First in2p3
funding
First Phys. Rev. C
First Phys. Rev. Lett.
Coupling LICORNE
+ MINIBALL spectrometer
First use of
239Pu targets
Max flux
>107 n/cm2/s
First expt.
235U/238U
Fission γ’s
Extension to
7 MeV with 11B

## Slide 6: LICORNE: Quasi-monoenergetic mode
2 cm gas cell, 1.1 atm pressure
Neutron spectrum at zero degrees

## Slide 7: LICORNE: White source mode
3.5 cm gas cell, 1.6 atm pressure
Neutron spectrum at zero degrees

## Slide 8: LICORNE irradiation in white source mode
LICORNE chamber
Ultra-thin Ta
window
H2 gas cell
238U or 232Th disks
(~80 grams total)
Pb collimator

## Slide 9: LICORNE irradiations in white source mode
Up to 100 nA 7Li
Primary Beam
H2 gas cell
238U or 232Th disks
(~80 grams total)

## Slide 10: LICORNE irradiations in white source mode
H2 gas cell
238U or 232Th disks
(~80 grams total)
Fission rates:
238U – 100 kHz
232Th – 20 kHz

## Slide 11: Irradiations (imaging applications)
Willhelm Röntgen (1895)
1st ever Nobel Prize (1901)
First x-ray Images
Allan M. Cormack &
Godfrey N. Hounsfield
Nobel Prize in Medicine (1979)
First x-ray Computed
Tomographic Images

## Slide 12: Fast neutron tomography with LICORNE @ ALTO

## Slide 13: Fast neutron tomography with LICORNE @ ALTO
5 m
First Use of NEDA with FASTER
BC501A

## Slide 14: Fast neutron tomography: Simple objects
Courtesty of B. Wasilewska

## Slide 15: Fast neutron tomography: Reconstruction simple objects
cm
cm
Courtesty of B. Wasilewska

## Slide 16: Fast neutron tomography: Reconstruction complex objects
Courtesty of B. Wasilewska

## Slide 17: LICORNE publications (2013 – 2017)
14) Studies of fission fragment yields via high-resolution γ-ray spectroscopy
J.N. Wilson, M. Lebois, L. Qi, et al., Proceedings of the Theory-4 international workshop, Varna, Bulgaria (2017)
13) Neutron-rich isotopes from 238U(n,f) and 232Th(n,f) studied with the nu-ball spectrometer coupled to the LICORNE neutron source
J.N. Wilson, M. Lebois , and L. Qi, Proceedings of the FISSION-2017 international conference, Chamrousse (2017)
12) Anomalies in the charge yields of fission fragments from the 238U(n,f) reaction
J.N. Wilson, M. Lebois, L. Qi et al.,, Phys. Rev. Lett. 118, 222501 (2017)
11) Production and study of neutron-rich nuclei using the LICORNE directional neutron source
J.N. Wilson, M. Lebois, L. Qi et al., Proceedings of the Zakopane international conference, Acta Physica Polonica B Vol.48 395 (2017)
10) Studies of γ-ray emission in the fission process with LICORNE
M. Lebois, J.N. Wilson, et. al , Proceedings of the CNR*15 international conference , EPJ Web of Conferences 122, 01010 (2016)
9) Comparative measurement of prompt fission gamma-ray emission from fast neutron induced fission of 235U and 238U
M. Lebois, J.N. Wilson, et al, Phys. Rev. C 92 034 618 (2015)
8) Prompt Emission in Fission Induced with Fast Neutrons
J.N. Wilson, M. Lebois, P. Halipré, S. Oberstedt, A. Oberstedt, Physics Procedia, Volume 64, Pages 107–113 (2015)
7) Future research program on prompt gamma-ray emission in nuclear fission
S. Oberstedt, R. Billnert, F. -J. Hambsch, M. Lebois, A. Oberstedt and J. N. Wilson , Eur. Phys. J. A, 51 12 (2015) 178
6) Development of a kinematically focused neutron source with the p(7Li,n)7Be inverse reaction
M. Lebois, J.N. Wilson, P. Halipre, B. Leniau, I. Matea, A. Oberstedt, S. Oberstedt, D. Verney, Nucl. Instrum. Meth. A 735 46 (2014)
5) The LICORNE neutron source and measurements of prompt gamma rays emitted in fission
J.N. Wilson, M. Lebois, et al., Proceedings GAMMA-2 International Workshop, Sremski Karlovci, Serbia (2013)
4) Prompt fission gamma-rays from fast neutron-induced fission of 238U, 232Th and 235U with LICORNE
M. Lebois, J.N. Wilson et al., Proceedings GAMMA-2 International Workshop, Sremski Karlovci, Serbia (2013)
3) Measurements of prompt gamma-rays from fast-neutron induced fission with the LICORNE directional neutron source
J.N. Wilson, M. Lebois, P. Halipre, A. Oberstedt, S. Oberstedt, Proceedings of the final ERINDA meeting, CERN, Geneva (2013)
2) The LICORNE neutron source
J.N. Wilson, M. Lebois et al., Proceedings of the International Conference, FISSION2013, Caen, France (2013)
1) Nuclear Research with Quasi Mono-Energetic Neutrons at the IPNO LICORNE Facility
S. Oberstedt, J.N. Wilson, R. Billnert, G. Georgiev, P. Halipre, M. Lebois, B. Leniau, J. Ljungvall, I. Matea, A. Oberstedt, D. Verney, International Atomic Energy Agency (IAEA), Proceedings technical meeting IAEA-F1-TM-42752 (2013)
95 users from 34 different institutions in 13 different countries